## mlo_raw_v_2006_11_17
year | month | day | hour | minutes | seconds | voltage | target gas calibration | ppmv | CALIBR. | W1 | W2 | W3 |  | CALCUL | line 1 | line 2 | total
2006 | 11 | 17 | 0 | 0 | 0 | 1.4252 | 1 | 370.468 | ppmv | 370.5 | 379.93 | 389.72 |  | ppmv | 379.9574 | 379.9223 | 379.9399
2006 | 11 | 17 | 0 | 0 | 10 | 1.5645 | 1 | 373.6305 | voltage | 1.4266 | 1.8419 | 2.2706 |  | stdev | 0.041926 | 0.035411 | 0.042515
2006 | 11 | 17 | 0 | 0 | 20 | 1.8339 | 1 | 379.7471
2006 | 11 | 17 | 0 | 0 | 30 | 1.8402 | 1 | 379.89
2006 | 11 | 17 | 0 | 0 | 40 | 1.8406 | 1 | 379.9009
2006 | 11 | 17 | 0 | 0 | 50 | 1.8385 | 1 | 379.852
2006 | 11 | 17 | 0 | 1 | 0 | 1.834 | 1 | 379.749
2006 | 11 | 17 | 0 | 1 | 10 | 1.8292 | 1 | 379.6402
2006 | 11 | 17 | 0 | 1 | 20 | 1.8285 | 1 | 379.6261
2006 | 11 | 17 | 0 | 1 | 30 | 1.8317 | 1 | 379.6986
2006 | 11 | 17 | 0 | 1 | 40 | 1.8346 | 1 | 379.7628
2006 | 11 | 17 | 0 | 1 | 50 | 1.8379 | 1 | 379.8396
2006 | 11 | 17 | 0 | 2 | 0 | 1.8418 | 1 | 379.9274
2006 | 11 | 17 | 0 | 2 | 10 | 1.8425 | 1 | 379.9425
2006 | 11 | 17 | 0 | 2 | 20 | 1.8442 | 1 | 379.9811
2006 | 11 | 17 | 0 | 2 | 30 | 1.8439 | 1 | 379.9749
2006 | 11 | 17 | 0 | 2 | 40 | 1.8452 | 1 | 380.0053
2006 | 11 | 17 | 0 | 2 | 50 | 1.8447 | 1 | 379.9923 | year | month | day | hour | W1 V | W2 V | W3 V | line 1 avg | line 1 sd | line 2 avg | line 2 sd | total avg | total sd | MLO ppmv | MLO SD | MLO flg
2006 | 11 | 17 | 0 | 3 | 0 | 1.8443 | 1 | 379.9841 | 2006 | 11 | 17 | 0 | 1.4266 | 1.8419 | 2.2706 | 379.9574 | 0.041926 | 379.9223 | 0.035411 | 379.9398 | 0.042515 | 379.95 | 0.04 | ...
2006 | 11 | 17 | 0 | 3 | 10 | 1.8446 | 1 | 379.99
2006 | 11 | 17 | 0 | 3 | 20 | 1.8446 | 1 | 379.9907
2006 | 11 | 17 | 0 | 3 | 30 | 1.8454 | 1 | 380.009
2006 | 11 | 17 | 0 | 3 | 40 | 1.8448 | 1 | 379.9955
2006 | 11 | 17 | 0 | 3 | 50 | 1.8431 | 1 | 379.9555
2006 | 11 | 17 | 0 | 4 | 0 | 1.8435 | 1 | 379.9658
2006 | 11 | 17 | 0 | 4 | 10 | 1.8424 | 1 | 379.9407
2006 | 11 | 17 | 0 | 4 | 20 | 1.842 | 1 | 379.9318
2006 | 11 | 17 | 0 | 4 | 30 | 1.8424 | 1 | 379.9404
2006 | 11 | 17 | 0 | 4 | 40 | 1.8423 | 1 | 379.9377
2006 | 11 | 17 | 0 | 4 | 50 | 1.8422 | 1 | 379.9368
2006 | 11 | 17 | 0 | 5 | 0 | 1.8434 | 1 | 379.9631
2006 | 11 | 17 | 0 | 5 | 10 | 1.8434 | 1 | 379.964
2006 | 11 | 17 | 0 | 5 | 20 | 1.8431 | 1 | 379.9571
2006 | 11 | 17 | 0 | 5 | 30 | 1.8429 | 1 | 379.9519
2006 | 11 | 17 | 0 | 5 | 40 | 1.8418 | 1 | 379.927
2006 | 11 | 17 | 0 | 5 | 50 | 1.8418 | 1 | 379.9265
2006 | 11 | 17 | 0 | 6 | 0 | 1.8412 | 1 | 379.9127
2006 | 11 | 17 | 0 | 6 | 10 | 1.8414 | 1 | 379.9186
2006 | 11 | 17 | 0 | 6 | 20 | 1.8414 | 1 | 379.9181
2006 | 11 | 17 | 0 | 6 | 30 | 1.8419 | 1 | 379.9293
2006 | 11 | 17 | 0 | 6 | 40 | 1.8435 | 1 | 379.9662
2006 | 11 | 17 | 0 | 6 | 50 | 1.8439 | 1 | 379.9742
2006 | 11 | 17 | 0 | 7 | 0 | 1.8421 | 1 | 379.9343
2006 | 11 | 17 | 0 | 7 | 10 | 1.8415 | 1 | 379.9199
2006 | 11 | 17 | 0 | 7 | 20 | 1.8428 | 1 | 379.9505
2006 | 11 | 17 | 0 | 7 | 30 | 1.8434 | 1 | 379.9644
2006 | 11 | 17 | 0 | 7 | 40 | 1.8436 | 1 | 379.9672
2006 | 11 | 17 | 0 | 7 | 50 | 1.844 | 1 | 379.9765
2006 | 11 | 17 | 0 | 8 | 0 | 1.8446 | 1 | 379.9902
2006 | 11 | 17 | 0 | 8 | 10 | 1.845 | 1 | 379.9994
2006 | 11 | 17 | 0 | 8 | 20 | 1.8458 | 1 | 380.0174
2006 | 11 | 17 | 0 | 8 | 30 | 1.845 | 1 | 379.9991
2006 | 11 | 17 | 0 | 8 | 40 | 1.8453 | 1 | 380.006
2006 | 11 | 17 | 0 | 8 | 50 | 1.8459 | 1 | 380.0215
2006 | 11 | 17 | 0 | 9 | 0 | 1.8448 | 1 | 379.9948
2006 | 11 | 17 | 0 | 9 | 10 | 1.8449 | 1 | 379.9978
2006 | 11 | 17 | 0 | 9 | 20 | 1.8456 | 1 | 380.014
2006 | 11 | 17 | 0 | 9 | 30 | 1.8455 | 1 | 380.0106
2006 | 11 | 17 | 0 | 9 | 40 | 1.8451 | 1 | 380.003
2006 | 11 | 17 | 0 | 9 | 50 | 1.8437 | 1 | 379.9701
2006 | 11 | 17 | 0 | 10 | 0 | 1.8446 | 1 | 379.9918
2006 | 11 | 17 | 0 | 10 | 10 | 1.8443 | 1 | 379.9852
2006 | 11 | 17 | 0 | 10 | 20 | 1.8431 | 1 | 379.9567
2006 | 11 | 17 | 0 | 10 | 30 | 1.8431 | 1 | 379.9562
2006 | 11 | 17 | 0 | 10 | 40 | 1.8425 | 1 | 379.9434
2006 | 11 | 17 | 0 | 10 | 50 | 1.8411 | 1 | 379.9104
2006 | 11 | 17 | 0 | 11 | 0 | 1.8418 | 1 | 379.9272
2006 | 11 | 17 | 0 | 11 | 10 | 1.8413 | 1 | 379.9154
2006 | 11 | 17 | 0 | 11 | 20 | 1.8428 | 1 | 379.95
2006 | 11 | 17 | 0 | 11 | 30 | 1.8427 | 1 | 379.9471
2006 | 11 | 17 | 0 | 11 | 40 | 1.8425 | 1 | 379.942
2006 | 11 | 17 | 0 | 11 | 50 | 1.8421 | 1 | 379.935
2006 | 11 | 17 | 0 | 12 | 0 | 1.8424 | 1 | 379.9409
2006 | 11 | 17 | 0 | 12 | 10 | 1.8426 | 1 | 379.9455
2006 | 11 | 17 | 0 | 12 | 20 | 1.8431 | 1 | 379.9564
2006 | 11 | 17 | 0 | 12 | 30 | 1.8432 | 1 | 379.9589
2006 | 11 | 17 | 0 | 12 | 40 | 1.8438 | 1 | 379.9724
2006 | 11 | 17 | 0 | 12 | 50 | 1.8445 | 1 | 379.9879
2006 | 11 | 17 | 0 | 13 | 0 | 1.8444 | 1 | 379.9873
2006 | 11 | 17 | 0 | 13 | 10 | 1.8456 | 1 | 380.0128
2006 | 11 | 17 | 0 | 13 | 20 | 1.8458 | 1 | 380.0183
2006 | 11 | 17 | 0 | 13 | 30 | 1.8445 | 1 | 379.9877
2006 | 11 | 17 | 0 | 13 | 40 | 1.8443 | 1 | 379.9841
2006 | 11 | 17 | 0 | 13 | 50 | 1.845 | 1 | 379.9998
2006 | 11 | 17 | 0 | 14 | 0 | 1.8445 | 1 | 379.9877
2006 | 11 | 17 | 0 | 14 | 10 | 1.8458 | 1 | 380.0186
2006 | 11 | 17 | 0 | 14 | 20 | 1.847 | 1 | 380.0448
2006 | 11 | 17 | 0 | 14 | 30 | 1.8468 | 1 | 380.0405
2006 | 11 | 17 | 0 | 14 | 40 | 1.846 | 1 | 380.024
2006 | 11 | 17 | 0 | 14 | 50 | 1.8449 | 1 | 379.9969
2006 | 11 | 17 | 0 | 15 | 0 | 1.8458 | 1 | 380.0186
2006 | 11 | 17 | 0 | 15 | 10 | 1.8448 | 1 | 379.9955
2006 | 11 | 17 | 0 | 15 | 20 | 1.8452 | 1 | 380.0053
2006 | 11 | 17 | 0 | 15 | 30 | 1.8448 | 1 | 379.9964
2006 | 11 | 17 | 0 | 15 | 40 | 1.8432 | 1 | 379.958
2006 | 11 | 17 | 0 | 15 | 50 | 1.8436 | 1 | 379.9674
2006 | 11 | 17 | 0 | 16 | 0 | 1.8435 | 1 | 379.9651
2006 | 11 | 17 | 0 | 16 | 10 | 1.8441 | 1 | 379.9806
2006 | 11 | 17 | 0 | 16 | 20 | 1.8438 | 1 | 379.9715
2006 | 11 | 17 | 0 | 16 | 30 | 1.8438 | 1 | 379.9715
2006 | 11 | 17 | 0 | 16 | 40 | 1.8438 | 1 | 379.9733
2006 | 11 | 17 | 0 | 16 | 50 | 1.8433 | 1 | 379.9617
2006 | 11 | 17 | 0 | 17 | 0 | 1.8434 | 1 | 379.9626
2006 | 11 | 17 | 0 | 17 | 10 | 1.8424 | 1 | 379.9404
2006 | 11 | 17 | 0 | 17 | 20 | 1.8416 | 1 | 379.922
2006 | 11 | 17 | 0 | 17 | 30 | 1.8405 | 1 | 379.8981
2006 | 11 | 17 | 0 | 17 | 40 | 1.8417 | 1 | 379.9243
2006 | 11 | 17 | 0 | 17 | 50 | 1.8412 | 1 | 379.914
2006 | 11 | 17 | 0 | 18 | 0 | 1.8427 | 1 | 379.9473
2006 | 11 | 17 | 0 | 18 | 10 | 1.8431 | 1 | 379.9576
2006 | 11 | 17 | 0 | 18 | 20 | 1.8439 | 1 | 379.9752
2006 | 11 | 17 | 0 | 18 | 30 | 1.8437 | 1 | 379.9708
2006 | 11 | 17 | 0 | 18 | 40 | 1.8437 | 1 | 379.9697
2006 | 11 | 17 | 0 | 18 | 50 | 1.8422 | 1 | 379.9366
2006 | 11 | 17 | 0 | 19 | 0 | 1.8426 | 1 | 379.9455
2006 | 11 | 17 | 0 | 19 | 10 | 1.8418 | 1 | 379.9277
2006 | 11 | 17 | 0 | 19 | 20 | 1.8415 | 1 | 379.9193
2006 | 11 | 17 | 0 | 19 | 30 | 1.8412 | 1 | 379.9129
2006 | 11 | 17 | 0 | 19 | 40 | 1.8412 | 1 | 379.9131
2006 | 11 | 17 | 0 | 19 | 50 | 1.8411 | 1 | 379.9102
2006 | 11 | 17 | 0 | 20 | 0 | 1.8406 | 1 | 379.8995
2006 | 11 | 17 | 0 | 20 | 10 | 1.8417 | 1 | 379.924
2006 | 11 | 17 | 0 | 20 | 20 | 1.8415 | 1 | 379.9197
2006 | 11 | 17 | 0 | 20 | 30 | 1.8422 | 1 | 379.9372
2006 | 11 | 17 | 0 | 20 | 40 | 1.8431 | 1 | 379.9555
2006 | 11 | 17 | 0 | 20 | 50 | 1.8439 | 1 | 379.9747
2006 | 11 | 17 | 0 | 21 | 0 | 1.8444 | 1 | 379.9875
2006 | 11 | 17 | 0 | 21 | 10 | 1.8443 | 1 | 379.9847
2006 | 11 | 17 | 0 | 21 | 20 | 1.8448 | 1 | 379.9946
2006 | 11 | 17 | 0 | 21 | 30 | 1.8459 | 1 | 380.0197
2006 | 11 | 17 | 0 | 21 | 40 | 1.8453 | 1 | 380.0069
2006 | 11 | 17 | 0 | 21 | 50 | 1.8444 | 1 | 379.9863
2006 | 11 | 17 | 0 | 22 | 0 | 1.8445 | 1 | 379.9879
2006 | 11 | 17 | 0 | 22 | 10 | 1.8446 | 1 | 379.9921
2006 | 11 | 17 | 0 | 22 | 20 | 1.8447 | 1 | 379.9927
2006 | 11 | 17 | 0 | 22 | 30 | 1.8438 | 1 | 379.972
2006 | 11 | 17 | 0 | 22 | 40 | 1.8425 | 1 | 379.9423
2006 | 11 | 17 | 0 | 22 | 50 | 1.8412 | 1 | 379.9131
2006 | 11 | 17 | 0 | 23 | 0 | 1.8408 | 1 | 379.9038
2006 | 11 | 17 | 0 | 23 | 10 | 1.8399 | 1 | 379.8847
2006 | 11 | 17 | 0 | 23 | 20 | 1.8386 | 1 | 379.8534
2006 | 11 | 17 | 0 | 23 | 30 | 1.8379 | 1 | 379.8396
2006 | 11 | 17 | 0 | 23 | 40 | 1.838 | 1 | 379.8409
2006 | 11 | 17 | 0 | 23 | 50 | 1.8388 | 1 | 379.8591
2006 | 11 | 17 | 0 | 24 | 0 | 1.8389 | 1 | 379.8614
2006 | 11 | 17 | 0 | 24 | 10 | 1.8401 | 1 | 379.8875
2006 | 11 | 17 | 0 | 24 | 20 | 1.8414 | 1 | 379.917
2006 | 11 | 17 | 0 | 24 | 30 | 1.8419 | 1 | 379.9288
2006 | 11 | 17 | 0 | 24 | 40 | 1.8412 | 1 | 379.9143
2006 | 11 | 17 | 0 | 24 | 50 | 1.8415 | 1 | 379.9206
2006 | 11 | 17 | 0 | 25 | 0 | 1.8409 | 1 | 379.9075
2006 | 11 | 17 | 0 | 25 | 10 | 1.8414 | 1 | 379.9177
2006 | 11 | 17 | 0 | 25 | 20 | 1.8421 | 1 | 379.9338
2006 | 11 | 17 | 0 | 25 | 30 | 1.8415 | 1 | 379.9197
2006 | 11 | 17 | 0 | 25 | 40 | 1.8424 | 1 | 379.9411
2006 | 11 | 17 | 0 | 25 | 50 | 1.8423 | 1 | 379.9395
2006 | 11 | 17 | 0 | 26 | 0 | 1.8419 | 1 | 379.9293
2006 | 11 | 17 | 0 | 26 | 10 | 1.8424 | 1 | 379.9418
2006 | 11 | 17 | 0 | 26 | 20 | 1.8429 | 1 | 379.9514
2006 | 11 | 17 | 0 | 26 | 30 | 1.843 | 1 | 379.9546
2006 | 11 | 17 | 0 | 26 | 40 | 1.8425 | 1 | 379.9425
2006 | 11 | 17 | 0 | 26 | 50 | 1.8439 | 1 | 379.974
2006 | 11 | 17 | 0 | 27 | 0 | 1.8443 | 1 | 379.9836
2006 | 11 | 17 | 0 | 27 | 10 | 1.8439 | 1 | 379.9754
2006 | 11 | 17 | 0 | 27 | 20 | 1.8438 | 1 | 379.9738
2006 | 11 | 17 | 0 | 27 | 30 | 1.8432 | 1 | 379.9592
2006 | 11 | 17 | 0 | 27 | 40 | 1.8424 | 1 | 379.9411
2006 | 11 | 17 | 0 | 27 | 50 | 1.8418 | 1 | 379.9272
2006 | 11 | 17 | 0 | 28 | 0 | 1.8415 | 1 | 379.9204
2006 | 11 | 17 | 0 | 28 | 10 | 1.8414 | 1 | 379.9179
2006 | 11 | 17 | 0 | 28 | 20 | 1.8412 | 1 | 379.9143
2006 | 11 | 17 | 0 | 28 | 30 | 1.8408 | 1 | 379.9047
2006 | 11 | 17 | 0 | 28 | 40 | 1.8406 | 1 | 379.8993
2006 | 11 | 17 | 0 | 28 | 50 | 1.84 | 1 | 379.8857
2006 | 11 | 17 | 0 | 29 | 0 | 1.8392 | 1 | 379.8679
2006 | 11 | 17 | 0 | 29 | 10 | 1.84 | 1 | 379.8859
2006 | 11 | 17 | 0 | 29 | 20 | 1.8402 | 1 | 379.8911
2006 | 11 | 17 | 0 | 29 | 30 | 1.8422 | 1 | 379.9352
2006 | 11 | 17 | 0 | 29 | 40 | 1.843 | 1 | 379.9546
2006 | 11 | 17 | 0 | 29 | 50 | 1.842 | 1 | 379.9322
2006 | 11 | 17 | 0 | 30 | 0 | 1.8406 | 1 | 379.8991
2006 | 11 | 17 | 0 | 30 | 10 | 1.8405 | 1 | 379.8984
2006 | 11 | 17 | 0 | 30 | 20 | 1.8398 | 1 | 379.8825
2006 | 11 | 17 | 0 | 30 | 30 | 1.8391 | 1 | 379.8648
2006 | 11 | 17 | 0 | 30 | 40 | 1.8402 | 1 | 379.89
2006 | 11 | 17 | 0 | 30 | 50 | 1.8401 | 1 | 379.8877
2006 | 11 | 17 | 0 | 31 | 0 | 1.8404 | 1 | 379.8954
2006 | 11 | 17 | 0 | 31 | 10 | 1.8412 | 1 | 379.9127
2006 | 11 | 17 | 0 | 31 | 20 | 1.8412 | 1 | 379.9124
2006 | 11 | 17 | 0 | 31 | 30 | 1.8414 | 1 | 379.917
2006 | 11 | 17 | 0 | 31 | 40 | 1.8412 | 1 | 379.9129
2006 | 11 | 17 | 0 | 31 | 50 | 1.8411 | 1 | 379.9111
2006 | 11 | 17 | 0 | 32 | 0 | 1.8411 | 1 | 379.9106
2006 | 11 | 17 | 0 | 32 | 10 | 1.8409 | 1 | 379.9068
2006 | 11 | 17 | 0 | 32 | 20 | 1.8411 | 1 | 379.9118
2006 | 11 | 17 | 0 | 32 | 30 | 1.8417 | 1 | 379.9254
2006 | 11 | 17 | 0 | 32 | 40 | 1.8414 | 1 | 379.917
2006 | 11 | 17 | 0 | 32 | 50 | 1.8412 | 1 | 379.914
2006 | 11 | 17 | 0 | 33 | 0 | 1.8404 | 1 | 379.8952
2006 | 11 | 17 | 0 | 33 | 10 | 1.8402 | 1 | 379.8913
2006 | 11 | 17 | 0 | 33 | 20 | 1.8411 | 1 | 379.9104
2006 | 11 | 17 | 0 | 33 | 30 | 1.8406 | 1 | 379.8988
2006 | 11 | 17 | 0 | 33 | 40 | 1.8399 | 1 | 379.8838
2006 | 11 | 17 | 0 | 33 | 50 | 1.841 | 1 | 379.9084
2006 | 11 | 17 | 0 | 34 | 0 | 1.8411 | 1 | 379.9118
2006 | 11 | 17 | 0 | 34 | 10 | 1.8415 | 1 | 379.919
2006 | 11 | 17 | 0 | 34 | 20 | 1.8414 | 1 | 379.9172
2006 | 11 | 17 | 0 | 34 | 30 | 1.8414 | 1 | 379.9177
2006 | 11 | 17 | 0 | 34 | 40 | 1.8409 | 1 | 379.9061
2006 | 11 | 17 | 0 | 34 | 50 | 1.8414 | 1 | 379.9181
2006 | 11 | 17 | 0 | 35 | 0 | 1.8412 | 1 | 379.9138
2006 | 11 | 17 | 0 | 35 | 10 | 1.8402 | 1 | 379.8916
2006 | 11 | 17 | 0 | 35 | 20 | 1.8397 | 1 | 379.8802
2006 | 11 | 17 | 0 | 35 | 30 | 1.8384 | 1 | 379.8507
2006 | 11 | 17 | 0 | 35 | 40 | 1.8383 | 1 | 379.8486
2006 | 11 | 17 | 0 | 35 | 50 | 1.8399 | 1 | 379.885
2006 | 11 | 17 | 0 | 36 | 0 | 1.8406 | 1 | 379.8988
2006 | 11 | 17 | 0 | 36 | 10 | 1.8408 | 1 | 379.904
2006 | 11 | 17 | 0 | 36 | 20 | 1.84 | 1 | 379.8872
2006 | 11 | 17 | 0 | 36 | 30 | 1.84 | 1 | 379.8859
2006 | 11 | 17 | 0 | 36 | 40 | 1.84 | 1 | 379.8863
2006 | 11 | 17 | 0 | 36 | 50 | 1.8401 | 1 | 379.8886
2006 | 11 | 17 | 0 | 37 | 0 | 1.8409 | 1 | 379.9072
2006 | 11 | 17 | 0 | 37 | 10 | 1.8398 | 1 | 379.8807
2006 | 11 | 17 | 0 | 37 | 20 | 1.8406 | 1 | 379.8991
2006 | 11 | 17 | 0 | 37 | 30 | 1.8415 | 1 | 379.9197
2006 | 11 | 17 | 0 | 37 | 40 | 1.8407 | 1 | 379.9018
2006 | 11 | 17 | 0 | 37 | 50 | 1.8402 | 1 | 379.8911
2006 | 11 | 17 | 0 | 38 | 0 | 1.8413 | 1 | 379.9147
2006 | 11 | 17 | 0 | 38 | 10 | 1.8413 | 1 | 379.9154
2006 | 11 | 17 | 0 | 38 | 20 | 1.8416 | 1 | 379.922
2006 | 11 | 17 | 0 | 38 | 30 | 1.843 | 1 | 379.9541
2006 | 11 | 17 | 0 | 38 | 40 | 1.8422 | 1 | 379.9368
2006 | 11 | 17 | 0 | 38 | 50 | 1.8423 | 1 | 379.9386
2006 | 11 | 17 | 0 | 39 | 0 | 1.8423 | 1 | 379.9382
2006 | 11 | 17 | 0 | 39 | 10 | 1.8433 | 1 | 379.961
2006 | 11 | 17 | 0 | 39 | 20 | 1.8447 | 1 | 379.9943
2006 | 11 | 17 | 0 | 39 | 30 | 1.8441 | 1 | 379.9797
2006 | 11 | 17 | 0 | 39 | 40 | 1.8433 | 1 | 379.9619
2006 | 11 | 17 | 0 | 39 | 50 | 1.8435 | 1 | 379.9662
2006 | 11 | 17 | 0 | 40 | 0 | 1.8429 | 1 | 379.953
2006 | 11 | 17 | 0 | 40 | 10 | 1.8428 | 1 | 379.9503
2006 | 11 | 17 | 0 | 40 | 20 | 1.843 | 1 | 379.9553
2006 | 11 | 17 | 0 | 40 | 30 | 1.8414 | 1 | 379.9181
2006 | 11 | 17 | 0 | 40 | 40 | 1.8409 | 1 | 379.907
2006 | 11 | 17 | 0 | 40 | 50 | 1.8414 | 1 | 379.9188
2006 | 11 | 17 | 0 | 41 | 0 | 1.8432 | 1 | 379.9599
2006 | 11 | 17 | 0 | 41 | 10 | 1.8447 | 1 | 379.9941
2006 | 11 | 17 | 0 | 41 | 20 | 1.8449 | 1 | 379.9975
2006 | 11 | 17 | 0 | 41 | 30 | 1.846 | 1 | 380.0231
2006 | 11 | 17 | 0 | 41 | 40 | 1.8463 | 1 | 380.0307
2006 | 11 | 17 | 0 | 41 | 50 | 1.8455 | 1 | 380.0117
2006 | 11 | 17 | 0 | 42 | 0 | 1.8452 | 1 | 380.0039
2006 | 11 | 17 | 0 | 42 | 10 | 1.8441 | 1 | 379.9804
2006 | 11 | 17 | 0 | 42 | 20 | 1.8436 | 1 | 379.9681
2006 | 11 | 17 | 0 | 42 | 30 | 1.8432 | 1 | 379.9592
2006 | 11 | 17 | 0 | 42 | 40 | 1.8434 | 1 | 379.9635
2006 | 11 | 17 | 0 | 42 | 50 | 1.8413 | 1 | 379.9149
2006 | 11 | 17 | 0 | 43 | 0 | 1.8402 | 1 | 379.8911
2006 | 11 | 17 | 0 | 43 | 10 | 1.8405 | 1 | 379.8968
2006 | 11 | 17 | 0 | 43 | 20 | 1.8411 | 1 | 379.9111
2006 | 11 | 17 | 0 | 43 | 30 | 1.8398 | 1 | 379.8825
2006 | 11 | 17 | 0 | 43 | 40 | 1.8407 | 1 | 379.9027
2006 | 11 | 17 | 0 | 43 | 50 | 1.8406 | 1 | 379.8993
2006 | 11 | 17 | 0 | 44 | 0 | 1.8401 | 1 | 379.8882
2006 | 11 | 17 | 0 | 44 | 10 | 1.8395 | 1 | 379.875
2006 | 11 | 17 | 0 | 44 | 20 | 1.8408 | 1 | 379.9038
2006 | 11 | 17 | 0 | 44 | 30 | 1.8416 | 1 | 379.9227
2006 | 11 | 17 | 0 | 44 | 40 | 1.8413 | 1 | 379.9159
2006 | 11 | 17 | 0 | 44 | 50 | 1.8411 | 1 | 379.91
2006 | 11 | 17 | 0 | 45 | 0 | 1.8847 | 1
2006 | 11 | 17 | 0 | 45 | 10 | 2.2144 | 1
2006 | 11 | 17 | 0 | 45 | 20 | 2.2553 | 1
2006 | 11 | 17 | 0 | 45 | 30 | 2.2663 | 1
2006 | 11 | 17 | 0 | 45 | 40 | 2.2683 | 1
2006 | 11 | 17 | 0 | 45 | 50 | 2.2686 | 1
2006 | 11 | 17 | 0 | 46 | 0 | 2.2695 | 1
2006 | 11 | 17 | 0 | 46 | 10 | 2.269 | 1
2006 | 11 | 17 | 0 | 46 | 20 | 2.269 | 1
2006 | 11 | 17 | 0 | 46 | 30 | 2.2689 | 1
2006 | 11 | 17 | 0 | 46 | 40 | 2.2701 | 1
2006 | 11 | 17 | 0 | 46 | 50 | 2.2697 | 1
2006 | 11 | 17 | 0 | 47 | 0 | 2.2698 | 1
2006 | 11 | 17 | 0 | 47 | 10 | 2.2699 | 1
2006 | 11 | 17 | 0 | 47 | 20 | 2.2704 | 1
2006 | 11 | 17 | 0 | 47 | 30 | 2.2699 | 1
2006 | 11 | 17 | 0 | 47 | 40 | 2.2704 | 1
2006 | 11 | 17 | 0 | 47 | 50 | 2.2704 | 1
2006 | 11 | 17 | 0 | 48 | 0 | 2.2708 | 1
2006 | 11 | 17 | 0 | 48 | 10 | 2.2713 | 1
2006 | 11 | 17 | 0 | 48 | 20 | 2.271 | 1
2006 | 11 | 17 | 0 | 48 | 30 | 2.2712 | 1
2006 | 11 | 17 | 0 | 48 | 40 | 2.2701 | 1
2006 | 11 | 17 | 0 | 48 | 50 | 2.2697 | 1
2006 | 11 | 17 | 0 | 49 | 0 | 2.271 | 1
2006 | 11 | 17 | 0 | 49 | 10 | 2.2702 | 1
2006 | 11 | 17 | 0 | 49 | 20 | 2.2703 | 1
2006 | 11 | 17 | 0 | 49 | 30 | 2.2709 | 1
2006 | 11 | 17 | 0 | 49 | 40 | 2.2694 | 1
2006 | 11 | 17 | 0 | 49 | 50 | 2.2708 | 1
2006 | 11 | 17 | 0 | 50 | 0 | 2.2686 | 1
2006 | 11 | 17 | 0 | 50 | 10 | 1.994 | 1
2006 | 11 | 17 | 0 | 50 | 20 | 1.8407 | 1
2006 | 11 | 17 | 0 | 50 | 30 | 1.8416 | 1
2006 | 11 | 17 | 0 | 50 | 40 | 1.8411 | 1
2006 | 11 | 17 | 0 | 50 | 50 | 1.8406 | 1
2006 | 11 | 17 | 0 | 51 | 0 | 1.8411 | 1
2006 | 11 | 17 | 0 | 51 | 10 | 1.842 | 1
2006 | 11 | 17 | 0 | 51 | 20 | 1.8421 | 1
2006 | 11 | 17 | 0 | 51 | 30 | 1.842 | 1
2006 | 11 | 17 | 0 | 51 | 40 | 1.8411 | 1
2006 | 11 | 17 | 0 | 51 | 50 | 1.8414 | 1
2006 | 11 | 17 | 0 | 52 | 0 | 1.8404 | 1
2006 | 11 | 17 | 0 | 52 | 10 | 1.8411 | 1
2006 | 11 | 17 | 0 | 52 | 20 | 1.8413 | 1
2006 | 11 | 17 | 0 | 52 | 30 | 1.842 | 1
2006 | 11 | 17 | 0 | 52 | 40 | 1.8422 | 1
2006 | 11 | 17 | 0 | 52 | 50 | 1.8429 | 1
2006 | 11 | 17 | 0 | 53 | 0 | 1.842 | 1
2006 | 11 | 17 | 0 | 53 | 10 | 1.8423 | 1
2006 | 11 | 17 | 0 | 53 | 20 | 1.8413 | 1
2006 | 11 | 17 | 0 | 53 | 30 | 1.8418 | 1
2006 | 11 | 17 | 0 | 53 | 40 | 1.8423 | 1
2006 | 11 | 17 | 0 | 53 | 50 | 1.8422 | 1
2006 | 11 | 17 | 0 | 54 | 0 | 1.8425 | 1
2006 | 11 | 17 | 0 | 54 | 10 | 1.8426 | 1
2006 | 11 | 17 | 0 | 54 | 20 | 1.8416 | 1
2006 | 11 | 17 | 0 | 54 | 30 | 1.8407 | 1
2006 | 11 | 17 | 0 | 54 | 40 | 1.8419 | 1
2006 | 11 | 17 | 0 | 54 | 50 | 1.842 | 1
2006 | 11 | 17 | 0 | 55 | 0 | 1.8433 | 1
2006 | 11 | 17 | 0 | 55 | 10 | 1.7099 | 1
2006 | 11 | 17 | 0 | 55 | 20 | 1.4433 | 1
2006 | 11 | 17 | 0 | 55 | 30 | 1.4306 | 1
2006 | 11 | 17 | 0 | 55 | 40 | 1.4292 | 1
2006 | 11 | 17 | 0 | 55 | 50 | 1.4286 | 1
2006 | 11 | 17 | 0 | 56 | 0 | 1.4265 | 1
2006 | 11 | 17 | 0 | 56 | 10 | 1.4271 | 1
2006 | 11 | 17 | 0 | 56 | 20 | 1.4262 | 1
2006 | 11 | 17 | 0 | 56 | 30 | 1.4261 | 1
2006 | 11 | 17 | 0 | 56 | 40 | 1.4256 | 1
2006 | 11 | 17 | 0 | 56 | 50 | 1.4262 | 1
2006 | 11 | 17 | 0 | 57 | 0 | 1.425 | 1
2006 | 11 | 17 | 0 | 57 | 10 | 1.4263 | 1
2006 | 11 | 17 | 0 | 57 | 20 | 1.4265 | 1
2006 | 11 | 17 | 0 | 57 | 30 | 1.4271 | 1
2006 | 11 | 17 | 0 | 57 | 40 | 1.4274 | 1
2006 | 11 | 17 | 0 | 57 | 50 | 1.4273 | 1
2006 | 11 | 17 | 0 | 58 | 0 | 1.4274 | 1
2006 | 11 | 17 | 0 | 58 | 10 | 1.4269 | 1
2006 | 11 | 17 | 0 | 58 | 20 | 1.4277 | 1
2006 | 11 | 17 | 0 | 58 | 30 | 1.4276 | 1
2006 | 11 | 17 | 0 | 58 | 40 | 1.4265 | 1
2006 | 11 | 17 | 0 | 58 | 50 | 1.427 | 1
2006 | 11 | 17 | 0 | 59 | 0 | 1.426 | 1
2006 | 11 | 17 | 0 | 59 | 10 | 1.4272 | 1
2006 | 11 | 17 | 0 | 59 | 20 | 1.427 | 1
2006 | 11 | 17 | 0 | 59 | 30 | 1.4263 | 1
2006 | 11 | 17 | 0 | 59 | 40 | 1.4253 | 1
2006 | 11 | 17 | 0 | 59 | 50 | 1.4246 | 1
Note on G32: Data used to calculate the CO2 value and variability of intake line 1 based on the calibration curve
Note on G152: Data used to calculate the CO2 value and variability of intake line 2 based on the calibration curve.
Note on G290: These two minutes of voltage snapshots are used to calculate the average voltage of the W3 reference gas.
Note on G320: These two minutes of voltage snapshots are used to calculate the average voltage of the W2 reference gas.
Note on G350: These two minutes of voltage snapshots are used to calculate the average voltage of the W1 reference gas. The three average voltages of the reference gases are used to make the calibration curve, which is used to calculate the CO2 levels from individual voltage readings for this hour.
Note on I32: Result of the calculation for individual voltage measurements. Average and variability of all results of 40 minutes intake is the hourly average and variability of this hour.
Note on M3: average voltage of two minutes reference gas passing for this hour
Note on O2: CO2 levels of three reference gases calibrated with different methods in several labs
Note on P14: calibration curve based on the voltage readings of the three reference gases in this hour.
Note on T2: calculated average and stdv for 20 minutes intake from line 1, 20 minutes from line 2, and the average and stdv of the full 40 minutes outside air intake.
Note on W19: Hourly average and variability as calculated from the raw voltage data over 40 minutes.
Note on Y19: Hourly average and variability as was stored in the MLO on line database for the year 2006.
Note on AA20: The quality control code "…" in this case shows that the result is deemed "background".